The Manufacture of Fluoride Chemicals

- All of the fluoride chemicals used in the United States for water fluoridation -- sodium fluoride, sodium fluorosilicate, and hydrofluosilicic acid -- are co-products of other industries, typically the phosphate fertilizer industry.

- Apatite rock, a calcium mineral, is ground up and treated with sulfuric acid, producing phosphoric acid and two byproducts:  calcium sulfate, and two gases, hydrofluoric acid and silicon tetrafluoride.  These gases are captured in recovery units and condensed into a solution called hydrofluosilicic acid.  Sodium fluoride and sodium fluorosilicate are made from the acid.

- Questions of toxicity, purity, and the risk to humans from the addition of fluoride chemicals sometimes arise.  Almost all of the more than 40 water treatment chemicals that may be used at a water plant, such as chlorine gas and the fluoride compounds, are toxic to humans in their concentrated form.  Only a very small amount of fluoride chemical is used in drinking water.  Added to the drinking water in very small amounts, the fluoride chemicals break apart virtually 100 percent into their various components (ions).  They are very stable, safe and non-toxic.

- It is sometimes alleged that the fluoride from natural sources, like calcium fluoride, is better than fluoride added “artificially,” such as from the fluoride chemicals presently used.  The truth is that there is no difference.

- Concerns have been raised about impurities in the fluoride chemicals.  More than 40 states, including Maine, have laws or regulations requiring product compliance with the American National Standards Institute/NSF “Standard 60.”  This standard provides for product quality and safety assurance, aiming to prevent the addition of harmful levels of contaminants from water treatment chemicals.  Issues with certification of fluoride products, for example, from China, are being carefully monitored so that only properly labeled and certified products that comply with this standard are used in Maine, in accordance with the State of Maine Rules Relating to Drinking Water.

Oral Health Program

Maine Center for Disease Control & Prevention

Maine Department of Health & Human Services

Tel:  (207) 287-2361                TTY:  800-606-0215

May 2010